## Slide 1
CRS046/004/06 - TRAINING (LAB & OVM PROJECT) – 01-21/10/2006
EVALUATION OF REACTIVITY OF POLLUTANTS ON SURFACES (PHOTOCATALYTIC COATINGS)
FLAT DENUDER
Notes: 1

## Slide 2: Objectives
To develope a new experimental set-up in order to investigate, identify and quantify, in a controlled and reliable way, the photocatalytic decomposition of NO2 using TiO2 coatings;
to determine the relationship between the photocatalytic reactivity of TiO2 coatings and reaction conditions (temperature, humidity, gas flow rate, light intensity, pollutant concentration) over range of typical environmental conditions;
to investigate and to identify the chemical mechanisms of the photocatalytic reaction of TiO2 coatings in the presence of simulated sunlight.
to determine the reaction efficiency and the reaction products of the photocatalytic decomposition.

## Slide 3
TITANIUM DIOXIDE
Energy
3,2 eV
Conduction Band
Valence Band
e-
h+
O2
O2-
OH-(ads) e H2O (ads)
OH.
hν
NO + O2- → NO2 + NO3-
NO2 + OH. → NO3-
Notes: 3

## Slide 4
TITANIUM DIOXIDE
OH•
NO2
O2-
HO2•
H+
OH-
e-
h+
TiO2
H2O
O2
hv(‹ 400nm)
NO2 + OH • NO3-
NO
NO2
+
NO3-
NO
Notes: 4

## Slide 5
EXPERIMENTAL APPARATUS
ARIA
OUT
COIL
Na2CO3
DENUDER
CARBON DENUDER
UV LAMP
Nitrogen
cylinder
Thermostatic
bath
NOX
ANALYZER
HUMICON
MFC
Permeation tube for NO2
Air
cylinder
FLAT DENUDER
Notes: 5

## Slide 6
FLAT DENUDER
Gas moves inside the channel, which has a rectangular section
Notes: 6

## Slide 7
FLAT DENUDER
Principle
The mass transfer is limited by the diffusion process, perfect sink ( Vd ), Gormley-Kennedy equation for penetration efficiency :
The mass transfer is limited by the surface reactivity (K  0), non perfect sink, low reactivity;
Notes: 7

## Slide 8
Results
Alkaline carbon coated denuder (perfect sink for NO2)
Denuder in
Notes: 8

## Slide 9
Results
Notes: 9

## Slide 10
Results
Example of commercial material containing titanium dioxide
Notes: 10

## Slide 11
Results
Example of commercial material containing titanium dioxide
Notes: 11

## Slide 12
Results
Example of commercial material containing titanium dioxide
Notes: 12

## Slide 13
Mass Balance of N species adsorbed on the surface during the experiment
NO3- from the analysis (mg/m3) | NO2 ads converted in NO3- (mg/m3)
1595,6 | 1494,5
Notes: 13

## Slide 14
Surface reactivity of pollutants
Deposition velocity
where
Notes: 14

## Slide 15
Surface reactivity of pollutants
Deposition velocity
Notes: 15

## Slide 16
Surface reactivity of pollutants
Deposition velocity
Vd for NO2(cm/s) |  |  | 
MATERIAL | 20%RH | 50%RH | 80%RH
TEORICO (carbon) | 0,4668 | 0,4668 | 0,4668
MATERIALE A | 0,2514 | 0,2272 | 0,1997
MATERIALE B | 0,1855 | 0,0693 | 0,0173
MATERIALE C | 0,1513 | 0,0760 | 0,0050
Notes: 16